## Sensitivity Tests
Sensitivity Tests - Simplified Geometry (Streamlined Set)
2016.2.0
Simplified Geometry Model | Detailed Geometry_NDL Model
0300006-OffMed-SG-Baseline | 0300006-OffMed-Baseline_NDL
0300016-OffMed-SG-Baseline | 0300016-OffMed-Baseline_NDL
0311816-OffMed-SG-WWR40 | 0303216-OffMed-LightingLowLPD_NDL | SG Streamlined Set
0312106-OffMed-SG-WWR20 | 0303316-OffMed-LightingHighLPD_NDL | Total Number of SG Model Tests | 10
0312406-OffMed-SG-WinUSHGC | 0307216-OffMed-HVACPVAV Design_NDL | Total Number of DG NDL Model Tests | 28
0500006-RetlMed-SG-Baseline | 0307906-OffMed-HVACPVAV EconomizerType_NDL | Total Number of SG Model Tests | 38
0500015-RetlMed-SG-Baseline | 0312706-OffMed-Plenum_NDL
0511315-RetlMed-SG-EnvWallInsulation | 0313606-OffMed-LabwExhDOAS_NDL
0511615-RetlMed-SG-SRR5 | 0314206-OffMed-FanPwrBox_NDL
0512406-RetlMed-SG-SkyU | 0314806-OffMed-LabwExhPVAV_NDL
0400006-OffLrg-Baserun_NDL
0400016-OffLrg-Baserun_NDL
0400016-OffLrg-CRAH_NDL
0408416-OffLrg-HVACChillerCOP_NDL
0408906-OffLrg-HVACChWdeltaT_NDL
0413216-OffLrg-CRAC_NDL
0500006-RetlMed-Baseline_NDL
0513006-RetlMed-SZVAV_NDL
1000006-RetlStrp-BaselinePSZ_NDL
1000015-RetlStrp-BaselinePSZ_NDL
1000015-RetlStrp-BaselinePTAC_NDL
1009215-RetlStrp-HVACPSZ DXCOP_NDL
1009315-RetlStrp-HVACPSZ HeatEff_NDL
1010006-RetlStrp-HVACPSZ EconomizerControl_NDL
1010115-RetlStrp-HVACPTAC DXCOP_NDL
1010515-RetlStrp-FPFC_NDL
1013906-RetlStrp-EvapCooler_NDL
1014315-RetlStrp-WSHP_NDL
Note: For the runs listed above CBECC will use the "Simplified Geometry" model. For Test description see Appendix 3B | Note: For the runs listed above CBECC will use the "Detailed Geometry" model with daylight controls turned off. Test description same as corresponding Detailed Geometry test
Note on C3: _NDL - "Detailed Geometry" model with daylight controls turned off.

## Ruleset Implementation
Ruleset Implementation Tests - Simplified Geometry (Streamlined Set)
2016.2.0
Simplified Geometry Models | Detailed Geometry Models | SG Streamlined Set
020006S-OffSml-Run18 | 020006-OffSml-Run24 | Total Number of SG Model Tests | 1
| 030006-OffMed-Run19 | Total Number of DG NDL Model Tests | 9
| 030006-OffMed-Run23 | Total Number of SG Model Tests | 10
030006-OffMed-Run30
040006-OffLrg-Run11
040006-OffLrg-Run20
050006-RetlMed-Run28
070015-HotSml-Run03
070015-HotSml-Run22
Note: The runs listed above CBECC will use the "Detailed Geometry" model. Test description same as corresponding Detailed Geometry test