## Sensitivity Tests
For Data Model Changes please refer to attached: CBECC-Com IDM_changes_2013_v3d-3995_to_2016.2.0-4300.pdf
Sensitivity Test Changes | 2016.1.0 | 2016.2.0 | Sensitivity Test Changes |  | 2016.1.0 | 2016.2.0
All models - Name changes of objects where applicable (does not affect simulation) |  |  | Model | Component
| LG Store 1 Cooling Coil | LG Store 1 Zn CoolingCoil | 1010606-RetlStrp-FPFC_NDL | FluidSys "ChilledWater System" | - | CtrlType = "DDC"
| LG Store 2 Cooling Coil | LG Store 2 Zn CoolingCoil | 1010515-RetlStrp-FPFC_NDL | FluidSys "ChilledWater System" | - | CtrlType = "DDC"
| SM Store 1 Cooling Coil | SM Store 1 Zn CoolingCoil | 0413306-OffLrg-CRAC_NDL | AirSys "Basement CAV" | - | OptStart = 1
| SM Store 2 Cooling Coil | SM Store 2 Zn CoolingCoil |  | Pump "Boiler 1 Pump" | - | FlowCap = 333.8
| SM Store 3 Cooling Coil | SM Store 3 Zn CoolingCoil | 0413216-OffLrg-CRAC_NDL | AirSys "Basement CAV" | - | OptStart = 1
| SM Store 4 Cooling Coil | SM Store 4 Zn CoolingCoil |  | Pump "Boiler 1 Pump" | - | FlowCap = 366.5
| SM Store 5 Cooling Coil | SM Store 5 Zn CoolingCoil | 0408906-OffLrg-HVACChWdeltaT_NDL | AirSys "Basement CAV" | - | OptStart = 1
| SM Store 6 Cooling Coil | SM Store 6 Zn CoolingCoil | 0408806-OffLrg-HVACChillerCOP_NDL | AirSys "Basement CAV" | - | OptStart = 1
| SM Store 7 Cooling Coil | SM Store 7 Zn CoolingCoil | 0408516-OffLrg-HVACChWdeltaT_NDL | AirSys "Basement CAV" | - | OptStart = 1
| SM Store 8 Cooling Coil | SM Store 8 Zn CoolingCoil | 0408416-OffLrg-HVACChillerCOP_NDL | AirSys "Basement CAV" | - | OptStart = 1
|  |  | 0400016-OffLrg-CRAH_NDL | AirSys "Basement CAV" | - | OptStart = 1
| LG Store 1 CoilCooling | LG Store 1 Zn CoolingCoil |  | Pump "Boiler 1 Pump" | - | FlowCap = 366.5
| LG Store 2 CoilCooling | LG Store 2 Zn CoolingCoil | 0400016-OffLrg-Baserun_NDL | AirSys "Basement CAV" | - | OptStart = 1
| SM Store 1 CoilCooling | SM Store 1 Zn CoolingCoil |  | Pump "Boiler 1 Pump" | - | FlowCap = 404
| SM Store 2 CoilCooling | SM Store 2 Zn CoolingCoil | 0400006-OffLrg-CRAH_NDL | AirSys "Basement CAV" | - | OptStart = 1
| SM Store 4 CoilCooling | SM Store 4 Zn CoolingCoil |  | Pump "Boiler 1 Pump" |  | FlowCap = 333.8
| SM Store 5 CoilCooling | SM Store 5 Zn CoolingCoil | 0400006-OffLrg-Baserun_NDL | AirSys "Basement CAV" | - | OptStart = 1
| SM Store 6 CoilCooling | SM Store 6 Zn CoolingCoil |  | Pump "Boiler 1 Pump" |  | FlowCap = 366.3
| SM Store 7 CoilCooling | SM Store 7 Zn CoolingCoil
| Lab Cooling Coil | Lab VAV Cooling Coil
| Top VAV CoilCooling | TopVAVCoilCooling
| Mid VAV CoilCooling | MidVAVCoilCooling
| Bottom VAV CoilCooling | BottomVAVCoilCooling
| SM Store 3 CoilCooling | SM Store 3 Zn CoolingCoil
| SM Store 8 CoilCooling | SM Store 8 Zn CoolingCoil
| LG Store 1 TU | LG Store 1 Sys TU 1
| LG Store 2 TU | LG Store 2 Sys TU 2
| SM Store 1 TU | SM Store 1 Sys TU 3
| SM Store 2 TU | SM Store 2 Sys TU 4
| SM Store 3 TU | SM Store 3 Sys TU 5
| SM Store 4 TU | SM Store 4 Sys TU 6
| SM Store 5 TU | SM Store 5 Sys TU 7
| SM Store 6 TU | SM Store 6 Sys TU 8
| SM Store 7 TU | SM Store 7 Sys TU 9
| SM Store 8 TU | SM Store 8 Sys TU 10
| Core Top Zn TU | CoreTopZn TU
| Core Mid TU | CoreMidZn TU
| LG Store 1 Heating Coil | LG Store 1 Zn HeatingCoil
| LG Store 2 Heating Coil | LG Store 2 Zn HeatingCoil
| SM Store 1 Heating Coil | SM Store 1 Zn HeatingCoil
| SM Store 2 Heating Coil | SM Store 2 Zn HeatingCoil
| SM Store 3 Heating Coil | SM Store 3 Zn HeatingCoil
| SM Store 4 Heating Coil | SM Store 4 Zn HeatingCoil
| SM Store 5 Heating Coil | SM Store 5 Zn HeatingCoil
| SM Store 6 Heating Coil | SM Store 6 Zn HeatingCoil
| SM Store 7 Heating Coil | SM Store 7 Zn HeatingCoil
| SM Store 8 Heating Coil | SM Store 8 Zn HeatingCoil
| LG Store 1 CoilHeating | LG Store 1 Zn HeatingCoil
| LG Store 2 CoilHeating | LG Store 2 Zn HeatingCoil
| SM Store 1 CoilHeating | SM Store 1 Zn HeatingCoil
| SM Store 2 CoilHeating | SM Store 2 Zn HeatingCoil
| SM Store 3 CoilHeating | SM Store 3 Zn HeatingCoil
| SM Store 4 CoilHeating | SM Store 4 Zn HeatingCoil
| SM Store 5 CoilHeating | SM Store 5 Zn HeatingCoil
| SM Store 6 CoilHeating | SM Store 6 Zn HeatingCoil
| SM Store 7 CoilHeating | SM Store 7 Zn HeatingCoil
| SM Store 8 CoilHeating | SM Store 8 Zn HeatingCoil
| Core Mid Reheat Coil | CoreMidReheatCoil
| Top VAV CoilHeating | TopVAVCoilHeating
| Lab VAV Heating Coil | Lab Heating Coil
| Mid VAV CoilHeating | MidVAVCoilHeating
| Bottom VAV CoilHeating | BottomVAVCoilHeating
| LG Store 1 Fan | LG Store 1 Zn SupplyFan
| LG Store 2 Fan | LG Store 2 Zn SupplyFan
| SM Store 1 Fan | SM Store 1 Zn SupplyFan
| SM Store 2 Fan | SM Store 2 Zn SupplyFan
| SM Store 3 Fan | SM Store 3 Zn SupplyFan
| SM Store 4 Fan | SM Store 4 Zn SupplyFan
| SM Store 5 Fan | SM Store 5 Zn SupplyFan
| SM Store 6 Fan | SM Store 6 Zn SupplyFan
| SM Store 7 Fan | SM Store 7 Zn SupplyFan
| SM Store 8 Fan | SM Store 8 Zn SupplyFan
| Lab VAV Fan | Lab Fan
| TopVAV SupplyFan | Top VAVFan
| MidVAV SupplyFan | Mid VAVFan
| BottomVAV SupplyFan | Bottom VAVFan
| Chiller | Chiller 1
| Chiller Pump | Chiller 1 Pump
| HeatRejection | Cooling Tower
| CW Pump | Cooling Tower Pump
| Boiler | Boiler 1
| Boiler Pump | Boiler 1 Pump

## Ruleset Tests
Ruleset Implementation Test Changes | 2016.1.0 | 2016.2.0
Small Office
Run 14
Interior Lighting system | Single interior lighting system per perimeter zone. | Split into two interior lighting system per perimeter zone. The overall number of fixtures and lighting power remains the same. The second lighting fixture has been assisnged to the secondary sidelit daylit area.
Run 18
HVAC systems | All zones had 'SZAC' systems with gas furnace as the heat source. | Core_ZN Thermal Zone - SPVAC (Zonal System) Perimeter_ZN_1 Thermal Zone - SPVHP (non-intergrated economizer) Perimeter_ZN_2 Thermal Zone - SPVAC
Medium Office
Run 12, and 13
Space Function | All spaces: 'Lobby, Main Entry' IntLtgSpecMthd = 'TailoredMethod' VentCtrlMthd = 'CO2Sensors' | Zone-4 on all levels: "Office (Greater than 250 square feet in floor area)" IntLtgSpecMthd = 'AreaCategoryMethod' VentCtrlMthd = 'Fixed' All other spaces: 'Lobby, Main Entry' IntLtgSpecMthd = 'TailoredMethod' VentCtrlMthd = 'CO2Sensors' All other inputs have been retained the same so as to not change the tested parameters.
Run 19
HVAC System - BottomVAV |  | Optimum Start required (check box)
Large Office
Run 11
FluidSystem 'BaseChWSystem' |  | DDC Control
AirSys "BaseAirSys6-Basement" |  | Optimum Start required (check box)
Run 20
FluidSystem 'BaseChWSystem' |  | DDC Control required
Hotel
Run 03
Service Hot Water, Residential Domestic Hot Water | SHWFluidSegRef = 'SHWSupply-Res' | SHWFluidSegRef = '- none -' ResDHWSysRef = 'GuestRm DHW Sys'
Space type counts | ResLivingUnitCnt | HotelMotelGuestRmCnt
Ventilation source | All guest room where ventilation source was previously defaulted to 'Forced' | Hardset to 'Forced'
Run 22
Service Hot Water, Residential Domestic Hot Water | SHWFluidSegRef = 'SHWSupply-Res' | SHWFluidSegRef = '- none -' ResDHWSysRef = 'GuestRm DHW Sys'
Space type counts | ResLivingUnitCnt | HotelMotelGuestRmCnt
Ventilation source | All guest room where ventilation source was previously defaulted to 'Forced' | Hardset to 'Forced'
Occupancy Number Simulated | OccNumSim - assumed at 1 person per room. | Based on the DwellingUnit Type - DwellingUnitTypeCnt[3] = 1