## Sensitivity Tests
Sensitivity Tests - Streamlined Set for Simplified Geometry
v3c
Simplified Geometry Model | Detailed Geometry_NDL Model
0200015-OffSml-SG-Baserun | 0400015-OffLrg-CRAH_NDL
0211015-OffSml-SG-EnvRoofInsulation | 0413115-OffLrg-CRAC_NDL
0211315-OffSml-SG-EnvWallInsulation | 0400016-OffLrg-CRAH_NDL
0300015-OffMed-SG-Baseline | 0413216-OffLrg-CRAC_NDL
0311615-OffMed-SG-WWR40 | 0400006-OffLrg-CRAH_NDL
0311715-OffMed-SG-WWR20 | 0413306-OffLrg-CRAC_NDL
0312215-OffMed-SG-WinUSHGC | 1000015-RetlStrp-BaselinePSZ_NDL
0300016-OffMed-SG-Baseline | 1009215-RetlStrp-HVACPSZ DXCOP_NDL
0311816-OffMed-SG-WWR40 | 1009315-RetlStrp-HVACPSZ HeatEff_NDL
0311916-OffMed-SG-WWR20 | 1009415-RetlStrp-HVACPSZ EconomizerControl_NDL
0312316-OffMed-SG-WinUSHGC | 1013715-RetlStrp-EvapCooler_NDL
0300006-OffMed-SG-Baseline | 1000016-RetlStrp-BaselinePSZ_NDL
0312006-OffMed-SG-WWR40 | 1009516-RetlStrp-HVACPSZ DXCOP_NDL
0312106-OffMed-SG-WWR20 | 1009616-RetlStrp-HVACPSZ HeatEff_NDL
0312406-OffMed-SG-WinUSHGC | 1009716-RetlStrp-HVACPSZ EconomizerControl_NDL
0500015-RetlMed-SG-Baseline | 1013816-RetlStrp-EvapCooler_NDL
0511615-RetlMed-SG-SRR5 | 1000006-RetlStrp-BaselinePSZ_NDL
0511915-RetlMed-SG-SRR1 | 1009806-RetlStrp-HVACPSZ DXCOP_NDL
0512215-RetlMed-SG-SkyUSHGC | 1009906-RetlStrp-HVACPSZ HeatEff_NDL
0500016-RetlMed-SG-Baseline | 1010006-RetlStrp-HVACPSZ EconomizerControl_NDL
0511716-RetlMed-SG-SRR5 | 1013906-RetlStrp-EvapCooler_NDL
0512016-RetlMed-SG-SRR1 | 1000015-RetlStrp-BaselinePTAC_NDL
0512316-RetlMed-SG-SkyUSHGC | 1010115-RetlStrp-HVACPTAC DXCOP_NDL
0500006-RetlMed-SG-Baseline | 1010515-RetlStrp-FPFC_NDL
0511806-RetlMed-SG-SRR5 | 1014315-RetlStrp-WSHP_NDL
0512106-RetlMed-SG-SRR1 | 1000016-RetlStrp-BaselinePTAC_NDL
0512406-RetlMed-SG-SkyUSHGC | 1010216-RetlStrp-HVACPTAC DXCOP_NDL
1010416-RetlStrp-FPFC_NDL
Note: For the runs listed above CBECC will use the "Simplified Geometry" model. For Test description see Appendix 3B | 1014416-RetlStrp-WSHP_NDL
1000006-RetlStrp-BaselinePTAC_NDL
1010306-RetlStrp-HVACPTAC DXCOP_NDL
1010606-RetlStrp-FPFC_NDL
1014506-RetlStrp-WSHP_NDL
Note: For the runs listed above CBECC will use the "Detailed Geometry" model with daylight controls turned off. Test description same as corresponding Detailed Geometry test
Note on C4: _NDL - "Detailed Geometry" model with daylight controls turned off.

## Ruleset Implementation
Ruleset Implementation Tests - Streamlined Set for Simplified Geometry |  | Notes
v3c
Simplified Geometry Models | Detailed Geometry Models
n/a | 070015-HotSml-Run03
n/a | 040006-OffLrg-Run11
020006S-OffSml-Run18 | n/a
n/a | 030006-OffMed-Run19
n/a | 040006-OffLrg-Run20
n/a | 070015-HotSml-Run22
n/a | 030006-OffMed-Run23
n/a | 020006-OffSml-Run24
n/a | 030006-OffMed-Run30 | Exclude Testing/Verification of Daylighting Parameters for 2D vendor
Note: The runs listed above CBECC will use the "Detailed Geometry" model. Test description same as corresponding Detailed Geometry test