## Results
| TEST RESULTS |  | 1 |  | 2 |  | 3 |  | 4 |  | 5 |  | 6 |  | 7 |  | 8 |  |  |  | 9 |  | 10 |  | 10 |  | 11 | [5 empty] | 12 |  | 13 |  |  |  | 14 | 16
| Test Case |  | Annual TDV EUI (excludes Receptacle, Process, Process Ltg) |  | Site Energy EUI - Electricity (excludes Receptacle, Process, Process Ltg) |  | Site Energy EUI - Natural Gas (excludes Receptacle, Process, Process Ltg) |  | Annual Total End Use Site Energy EUI (excludes Receptacle, Process, Process Ltg) |  | Annual End Use Site Energy EUI | [17 empty] | Unmet Load Hours (UMLH) (Heating + Cooling) |  |  |  | Variation from Baseline | [5 empty] | Pass/Fail
|  |  | (kBtu/sqft) |  | (kwh/sqft) |  | (therm/sqft) |  | (kBtu/sqft) |  | Heating (kBtu/sqft) |  | Cooling (kBtu/sqft) |  | Interior Lighting (kBtu/sqft) |  | Gas Equipment (kBtu/sqft) |  | Electric Equipment (kBtu/sqft) |  | Fans (kBtu/sqft) |  | Pumps (kBtu/sqft) |  | Tower (kBtu/sqft) |  | Water Heating (kBtu/sqft) |  | Number of Zones with Total UMLH > 150 |  | Zone Max Total UMLH (Hr/yr) |  | TDV % variation |  | Total End Use Site Energy % Variation
|  |  | Reference Model | Applicant Model | Reference Model | Applicant Model | Reference Model | Applicant Model | Reference Model | Applicant Model | Reference Model | Applicant Model | Reference Model | Applicant Model | Reference Model | Applicant Model | Reference Model | Applicant Model | Reference Model | Applicant Model | Reference Model | Applicant Model | Reference Model | Applicant Model | Reference Model | Applicant Model | Reference Model | Applicant Model | Reference Model | Applicant Model | Reference Model | Applicant Model | Reference Model | Applicant Model | Reference Model | Applicant Model
4 | CBECC-Com 2013 2(601) | 0500015-RetlMed-Baseline | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 |  |  |  |  | No | Yes
6 | CBECC-Com 2013 2(601) | 0500115-RetlMed-EnvelopeRoofInsulation | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
9 | CBECC-Com 2013 2(601) | 0500215-RetlMed-EnvelopeWallInsulation | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
12 | CBECC-Com 2013 2(601) | 0500315-RetlMed-EnvelopeHeavy | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
5 | CBECC-Com 2013 2(601) | 0500016-RetlMed-Baseline | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 |  |  |  |  | No | Yes
7 | CBECC-Com 2013 2(601) | 0500416-RetlMed-EnvelopeRoofInsulation | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
10 | CBECC-Com 2013 2(601) | 0500516-RetlMed-EnvelopeWallInsulation | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
13 | CBECC-Com 2013 2(601) | 0500616-RetlMed-EnvelopeHeavy | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
3 | CBECC-Com 2013 2(601) | 0500006-RetlMed-Baseline | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 |  |  |  |  | No | Yes
8 | CBECC-Com 2013 2(601) | 0500706-RetlMed-EnvelopeRoofInsulation | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
11 | CBECC-Com 2013 2(601) | 0500806-RetlMed-EnvelopeWallInsulation | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
14 | CBECC-Com 2013 2(601) | 0500906-RetlMed-EnvelopeHeavy | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
4 | CBECC-Com 2013 2(601) | 0300015-OffMed-Baseline | 189.566 | 189.566 | 6.1689 | 6.1689 | 0.031635 | 0.031635 | 24.2118 | 24.2118 | 1.569 | 1.569 | 14.2459 | 14.2459 | 4.9918 | 4.9918 | 0 | 0 | 14.6226 | 14.6226 | 1.7363 | 1.7363 | 0.074759 | 0.074759 | 0 | 0 | 1.594 | 1.594 | 0 | 0 | 0 | 0 |  |  |  |  | No | Yes
7 | CBECC-Com 2013 2(601) | 0301015-OffMed-FloorSlabInsulation | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
4 | CBECC-Com 2013 2(601) | 0300015-OffMed-Baseline | 189.566 | 189.566 | 6.1689 | 6.1689 | 0.031635 | 0.031635 | 24.2118 | 24.2118 | 1.569 | 1.569 | 14.2459 | 14.2459 | 4.9918 | 4.9918 | 0 | 0 | 14.6226 | 14.6226 | 1.7363 | 1.7363 | 0.074759 | 0.074759 | 0 | 0 | 1.594 | 1.594 | 0 | 0 | 0 | 0 |  |  |  |  | No | Yes
10 | CBECC-Com 2013 2(601) | 0301215-OffMed-GlazingWindowU | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
16 | CBECC-Com 2013 2(601) | 0301315-OffMed-GlazingWindowSHGC | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
13 | CBECC-Com 2013 2(601) | 0301415-OffMed-GlazingWindowUSHGC | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
5 | CBECC-Com 2013 2(601) | 0300016-OffMed-Baseline | 120.553 | 120.553 | 2.8633 | 2.8633 | 0.16349 | 0.16349 | 26.1148 | 26.1148 | 14.0732 | 14.0732 | 3.0451 | 3.0451 | 4.99 | 4.99 | 0 | 0 | 14.6226 | 14.6226 | 1.3868 | 1.3868 | 0.34563 | 0.34563 | 0 | 0 | 2.2742 | 2.2742 | 0 | 0 | 0 | 0 |  |  |  |  | No | Yes
8 | CBECC-Com 2013 2(601) | 0301516-OffMed-FloorSlabInsulation | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
5 | CBECC-Com 2013 2(601) | 0300016-OffMed-Baseline | 120.553 | 120.553 | 2.8633 | 2.8633 | 0.16349 | 0.16349 | 26.1148 | 26.1148 | 14.0732 | 14.0732 | 3.0451 | 3.0451 | 4.99 | 4.99 | 0 | 0 | 14.6226 | 14.6226 | 1.3868 | 1.3868 | 0.34563 | 0.34563 | 0 | 0 | 2.2742 | 2.2742 | 0 | 0 | 0 | 0 |  |  |  |  | No | Yes
9 | CBECC-Com 2013 2(601) | 0301716-OffMed-GlazingWindowU | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
15 | CBECC-Com 2013 2(601) | 0301816-OffMed-GlazingWindowSHGC | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
12 | CBECC-Com 2013 2(601) | 0301916-OffMed-GlazingWindowUSHGC | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
3 | CBECC-Com 2013 2(601) | 0300006-OffMed-Baseline | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 |  |  |  |  | No | Yes
6 | CBECC-Com 2013 2(601) | 0302006-OffMed-FloorSlabInsulation | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
3 | CBECC-Com 2013 2(601) | 0300006-OffMed-Baseline | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 |  |  |  |  | No | Yes
11 | CBECC-Com 2013 2(601) | 0302206-OffMed-GlazingWindowU | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
17 | CBECC-Com 2013 2(601) | 0302306-OffMed-GlazingWindowSHGC | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
14 | CBECC-Com 2013 2(601) | 0302406-OffMed-GlazingWindowUSHGC | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
36 | CBECC-Com 2013 2b(609) | 0400007-OffLrg-Baserun | 104.009 | 104.009 | 3.53 | 3.53 | 0.036045 | 0.036045 | 15.6484 | 15.6484 | 2.9222 | 2.9222 | 2.1613 | 2.1613 | 4.972 | 4.972 | 0 | 0 | 14.6147 | 14.6147 | 1.7704 | 1.7704 | 3.1308 | 3.1308 | 0.0096784 | 0.0096784 | 0.68199 | 0.68199 | 0 | 0 | 0 | 0 |  |  |  |  | No | Yes
37 | CBECC-Com 2013 2b(609) | 0402507-OffLrg-WWR20 | 102.001 | 102.001 | 3.4959 | 3.4959 | 0.032258 | 0.032258 | 15.1534 | 15.1534 | 2.5436 | 2.5436 | 2.0078 | 2.0078 | 5.056 | 5.056 | 0 | 0 | 14.6147 | 14.6147 | 1.7096 | 1.7096 | 3.1449 | 3.1449 | 0.0095292 | 0.0095292 | 0.68199 | 0.68199 | 0 | 0 | 0 | 0 | -1.931% | -1.931% | -3.163% | -3.163% | No | No | Pass
38 | CBECC-Com 2013 2(601) | 0402607-OffLrg-WWR60 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
40 | CBECC-Com 2013 2(601) | 0400001-OffLrg-Baserun | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 |  |  |  |  | No | Yes
41 | CBECC-Com 2013 2(601) | 0402801-OffLrg-WWR20 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
42 | CBECC-Com 2013 2(601) | 0402901-OffLrg-WWR60 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
4 | CBECC-Com 2013 2(601) | 0300015-OffMed-Baseline | 189.566 | 189.566 | 6.1689 | 6.1689 | 0.031635 | 0.031635 | 24.2118 | 24.2118 | 1.569 | 1.569 | 14.2459 | 14.2459 | 4.9918 | 4.9918 | 0 | 0 | 14.6226 | 14.6226 | 1.7363 | 1.7363 | 0.074759 | 0.074759 | 0 | 0 | 1.594 | 1.594 | 0 | 0 | 0 | 0 |  |  |  |  | No | Yes
18 | CBECC-Com 2013 2(601) | 0303015-OffMed-LightingLowLPD | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
19 | CBECC-Com 2013 2(601) | 0303115-OffMed-LightingHighLPD | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
5 | CBECC-Com 2013 2(601) | 0300016-OffMed-Baseline | 120.553 | 120.553 | 2.8633 | 2.8633 | 0.16349 | 0.16349 | 26.1148 | 26.1148 | 14.0732 | 14.0732 | 3.0451 | 3.0451 | 4.99 | 4.99 | 0 | 0 | 14.6226 | 14.6226 | 1.3868 | 1.3868 | 0.34563 | 0.34563 | 0 | 0 | 2.2742 | 2.2742 | 0 | 0 | 0 | 0 |  |  |  |  | No | Yes
20 | CBECC-Com 2013 2(601) | 0303216-OffMed-LightingLowLPD | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
21 | CBECC-Com 2013 2(601) | 0303316-OffMed-LightingHighLPD | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
3 | CBECC-Com 2013 2(601) | 0300006-OffMed-Baseline | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 |  |  |  |  | No | Yes
22 | CBECC-Com 2013 2(601) | 0303406-OffMed-LightingLowLPD | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
23 | CBECC-Com 2013 2(601) | 0303506-OffMed-LightingHighLPD | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
61 | CBECC-Com 2013 2(601) | 0400007-OffLrg-Baserun | 104.009 | 104.009 | 3.53 | 3.53 | 0.036045 | 0.036045 | 15.6484 | 15.6484 | 2.9222 | 2.9222 | 2.1613 | 2.1613 | 4.972 | 4.972 | 0 | 0 | 14.6147 | 14.6147 | 1.7704 | 1.7704 | 3.1308 | 3.1308 | 0.0096784 | 0.0096784 | 0.68199 | 0.68199 | 0 | 0 | 0 | 0 |  |  |  |  | No | Yes
62 | CBECC-Com 2013 2b(609) | 0404207-OffLrg-Cont.DimHighVT | 103.723 | 103.723 | 3.5198 | 3.5198 | 0.036076 | 0.036076 | 15.6166 | 15.6166 | 2.9253 | 2.9253 | 2.1597 | 2.1597 | 4.941 | 4.941 | 0 | 0 | 14.6147 | 14.6147 | 1.768 | 1.768 | 3.1309 | 3.1309 | 0.0096586 | 0.0096586 | 0.68199 | 0.68199 | 0 | 0 | 0 | 0 | -0.275% | -0.275% | -0.2032% | -0.2032% | No | No | Pass
63 | CBECC-Com 2013 2b(609) | 0404307-OffLrg-StepDim | 103.375 | 103.375 | 3.5078 | 3.5078 | 0.036061 | 0.036061 | 15.5742 | 15.5742 | 2.9239 | 2.9239 | 2.1524 | 2.1524 | 4.9048 | 4.9048 | 0 | 0 | 14.6147 | 14.6147 | 1.7702 | 1.7702 | 3.1313 | 3.1313 | 0.0096485 | 0.0096485 | 0.68199 | 0.68199 | 0 | 0 | 0 | 0 | -0.6096% | -0.6096% | -0.4736% | -0.4736% | No | No | Pass
64 | CBECC-Com 2013 2b(609) | 0404407-OffLrg-StepDimHighVT | 102.986 | 102.986 | 3.4943 | 3.4943 | 0.036103 | 0.036103 | 15.5324 | 15.5324 | 2.9281 | 2.9281 | 2.1486 | 2.1486 | 4.8653 | 4.8653 | 0 | 0 | 14.6147 | 14.6147 | 1.7672 | 1.7672 | 3.1316 | 3.1316 | 0.0096153 | 0.0096153 | 0.68199 | 0.68199 | 0 | 0 | 0 | 0 | -0.9836% | -0.9836% | -0.7412% | -0.7412% | No | No | Pass
65 | CBECC-Com 2013 2b(609) | 0402507-OffLrg-WWR20 | 102.001 | 102.001 | 3.4959 | 3.4959 | 0.032258 | 0.032258 | 15.1534 | 15.1534 | 2.5436 | 2.5436 | 2.0078 | 2.0078 | 5.056 | 5.056 | 0 | 0 | 14.6147 | 14.6147 | 1.7096 | 1.7096 | 3.1449 | 3.1449 | 0.0095292 | 0.0095292 | 0.68199 | 0.68199 | 0 | 0 | 0 | 0 |  |  |  |  | No | Yes
66 | CBECC-Com 2013 2b(609) | 0404507-OffLrg-WWR20Cont.DimHighVT | 101.797 | 101.797 | 3.4868 | 3.4868 | 0.032294 | 0.032294 | 15.1262 | 15.1262 | 2.5472 | 2.5472 | 2.0083 | 2.0083 | 5.0271 | 5.0271 | 0 | 0 | 14.6147 | 14.6147 | 1.7073 | 1.7073 | 3.1448 | 3.1448 | 0.009537 | 0.009537 | 0.68199 | 0.68199 | 0 | 0 | 0 | 0 | -0.2% | -0.2% | -0.1795% | -0.1795% | No | No | Pass
67 | CBECC-Com 2013 2b(609) | 0404607-OffLrg-WWR20StepDim | 101.754 | 101.754 | 3.4894 | 3.4894 | 0.03223 | 0.03223 | 15.1287 | 15.1287 | 2.5408 | 2.5408 | 2.0079 | 2.0079 | 5.0364 | 5.0364 | 0 | 0 | 14.6147 | 14.6147 | 1.7075 | 1.7075 | 3.1445 | 3.1445 | 0.0095235 | 0.0095235 | 0.68199 | 0.68199 | 0 | 0 | 0 | 0 | -0.2422% | -0.2422% | -0.1633% | -0.1633% | No | No | Pass
68 | CBECC-Com 2013 2b(609) | 0404707-OffLrg-WWR20StepDimHighVT | 101.356 | 101.356 | 3.4729 | 3.4729 | 0.03229 | 0.03229 | 15.0782 | 15.0782 | 2.5468 | 2.5468 | 2.0062 | 2.0062 | 4.9855 | 4.9855 | 0 | 0 | 14.6147 | 14.6147 | 1.7035 | 1.7035 | 3.1448 | 3.1448 | 0.009518 | 0.009518 | 0.68199 | 0.68199 | 0 | 0 | 0 | 0 | -0.6323% | -0.6323% | -0.4963% | -0.4963% | No | No | Pass
69 | CBECC-Com 2013 2(601) | 0402607-OffLrg-WWR60 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 |  |  |  |  | No | Yes
70 | CBECC-Com 2013 2(601) | 0404807-OffLrg-WWR60Cont.DimHighVT | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
71 | CBECC-Com 2013 2(601) | 0404907-OffLrg-WWR60StepDim | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
72 | CBECC-Com 2013 2(601) | 0405007-OffLrg-WWR60StepDimHighVT | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
73 | CBECC-Com 2013 2(601) | 0400001-OffLrg-Baserun | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 |  |  |  |  | No | Yes
74 | CBECC-Com 2013 2(601) | 0405101-OffLrg-Cont.DimHighVT | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
75 | CBECC-Com 2013 2(601) | 0405201-OffLrg-StepDim | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
76 | CBECC-Com 2013 2(601) | 0405301-OffLrg-StepDimHighVT | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
77 | CBECC-Com 2013 2(601) | 0402801-OffLrg-WWR20 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 |  |  |  |  | No | Yes
78 | CBECC-Com 2013 2(601) | 0405401-OffLrg-WWR20Cont.DimHighVT | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
79 | CBECC-Com 2013 2(601) | 0405501-OffLrg-WWR20StepDim | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
80 | CBECC-Com 2013 2(601) | 0405601-OffLrg-WWR20StepDimHighVT | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
81 | CBECC-Com 2013 2(601) | 0402901-OffLrg-WWR60 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 |  |  |  |  | No | Yes
82 | CBECC-Com 2013 2(601) | 0405701-OffLrg-WWR60Cont.DimHighVT | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
83 | CBECC-Com 2013 2(601) | 0405801-OffLrg-WWR60StepDim | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
84 | CBECC-Com 2013 2(601) | 0405901-OffLrg-WWR60StepDimHighVT | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
85 | CBECC-Com 2013 2(601) | 0500007-RetlMed-Baseline | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 |  |  |  |  | No | Yes
86 | CBECC-Com 2013 2(601) | 0506007-RetlMed-Daylighting SRRBaseHighVT | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
87 | CBECC-Com 2013 2(601) | 0506107-RetlMed-Daylighting SRR4.67 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
88 | CBECC-Com 2013 2(601) | 0506207-RetlMed-Daylighting SRR4.67HighVT | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
89 | CBECC-Com 2013 2(601) | 0500001-RetlMed-Baseline | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 |  |  |  |  | No | Yes
90 | CBECC-Com 2013 2(601) | 0506301-RetlMed-Daylighting SRRBaseHighVT | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
91 | CBECC-Com 2013 2(601) | 0506401-RetlMed-Daylighting SRR4.67 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
92 | CBECC-Com 2013 2(601) | 0506501-RetlMed-Daylighting SRR4.67HighVT | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
93 | CBECC-Com 2013 2(601) | 050016-RetlMed-BaselineDuctLoss | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 |  |  |  |  | No | Yes | Pass
94 | CBECC-Com 2013 2(601) | 056616-RetlMed-HVAC DuctLoss | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 |  |  |  |  | No | Yes | Fail
95 | CBECC-Com 2013 2(601) | 050006-RetlMed-BaselineDuctLoss | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 |  |  |  |  | No | Yes | Fail
96 | CBECC-Com 2013 2(601) | 056716-RetlMed-HVAC DuctLoss | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 |  |  |  |  | No | Yes | Fail
4 | CBECC-Com 2013 2b(609) | 0300015-OffMed-Baseline | 189.566 | 189.566 | 6.1689 | 6.1689 | 0.031635 | 0.031635 | 24.2118 | 24.2118 | 1.569 | 1.569 | 14.2459 | 14.2459 | 4.9918 | 4.9918 | 0 | 0 | 14.6226 | 14.6226 | 1.7363 | 1.7363 | 0.074759 | 0.074759 | 0 | 0 | 1.594 | 1.594 | 0 | 0 | 0 | 0 |  |  |  |  | No | Yes
24 | CBECC-Com 2013 2b(609) | 0306815-OffMed-HVACPVAV Design | 193.849 | 193.849 | 6.3201 | 6.3201 | 0.031408 | 0.031408 | 24.7049 | 24.7049 | 1.5463 | 1.5463 | 14.3645 | 14.3645 | 4.9918 | 4.9918 | 0 | 0 | 14.6226 | 14.6226 | 2.134 | 2.134 | 0.074206 | 0.074206 | 0 | 0 | 1.594 | 1.594 | 0 | 0 | 0 | 0 | 2.259% | 2.259% | 2.037% | 2.037% | Yes | Yes | Pass
33 | CBECC-Com 2013 2(601) | 0306915-OffMed-HVACPVAV SATControl | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
30 | CBECC-Com 2013 2(601) | 037015-OffMed-HVACPVAV VAVControl | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
27 | CBECC-Com 2013 2(601) | 0307115-OffMed-HVACPVAV EconomizerType | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
5 | CBECC-Com 2013 2b(609) | 0300016-OffMed-Baseline | 120.553 | 120.553 | 2.8633 | 2.8633 | 0.16349 | 0.16349 | 26.1148 | 26.1148 | 14.0732 | 14.0732 | 3.0451 | 3.0451 | 4.99 | 4.99 | 0 | 0 | 14.6226 | 14.6226 | 1.3868 | 1.3868 | 0.34563 | 0.34563 | 0 | 0 | 2.2742 | 2.2742 | 0 | 0 | 0 | 0 |  |  |  |  | No | Yes
25 | CBECC-Com 2013 2b(609) | 0307216-OffMed-HVACPVAV Design | 123.551 | 123.551 | 2.9702 | 2.9702 | 0.16205 | 0.16205 | 26.3355 | 26.3355 | 13.9291 | 13.9291 | 3.0936 | 3.0936 | 4.99 | 4.99 | 0 | 0 | 14.6226 | 14.6226 | 1.7046 | 1.7046 | 0.34398 | 0.34398 | 0 | 0 | 2.2742 | 2.2742 | 0 | 0 | 0 | 0 | 2.487% | 2.487% | 0.845% | 0.845% | Yes | Yes | Pass
34 | CBECC-Com 2013 2b(609) | 0307316-OffMed-HVACPVAV SATControl | 122.318 | 122.318 | 2.9268 | 2.9268 | 0.17228 | 0.17228 | 27.2105 | 27.2105 | 14.9524 | 14.9524 | 2.9908 | 2.9908 | 4.99 | 4.99 | 0 | 0 | 14.6226 | 14.6226 | 1.6553 | 1.6553 | 0.34783 | 0.34783 | 0 | 0 | 2.2742 | 2.2742 | 0 | 0 | 0 | 0 | 1.464% | 1.464% | 4.196% | 4.196% | Yes | Yes | Pass
31 | CBECC-Com 2013 2(601) | 037416-OffMed-HVACPVAV VAVControl | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
28 | CBECC-Com 2013 2b(609) | 0307516-OffMed-HVACPVAV EconomizerType | 121.096 | 121.096 | 2.8538 | 2.8538 | 0.16428 | 0.16428 | 26.1618 | 26.1618 | 14.1527 | 14.1527 | 3.0576 | 3.0576 | 4.99 | 4.99 | 0 | 0 | 14.6226 | 14.6226 | 1.402 | 1.402 | 0.28536 | 0.28536 | 0 | 0 | 2.2742 | 2.2742 | 0 | 0 | 0 | 0 | 0.4504% | 0.4504% | 0.1796% | 0.1796% | Yes | Yes | Pass
3 | CBECC-Com 2013 2(601) | 0300006-OffMed-Baseline | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 |  |  |  |  | No | Yes | Fail
26 | CBECC-Com 2013 2(601) | 0307606-OffMed-HVACPVAV Design | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
35 | CBECC-Com 2013 2(601) | 0307706-OffMed-HVACPVAV SATControl | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
32 | CBECC-Com 2013 2(601) | 037806-OffMed-HVACPVAV VAVControl | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
29 | CBECC-Com 2013 2(601) | 0307906-OffMed-HVACPVAV EconomizerType | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
112 | CBECC-Com 2013 2(601) | 0400015-OffLrg-Baserun | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 |  |  |  |  | No | Yes | Fail
113 | CBECC-Com 2013 2(601) | 0408015-OffLrg-HVACChillerCOP | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
114 | CBECC-Com 2013 2(601) | 0408115-OffLrg-HVACChWdeltaT | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
115 | CBECC-Com 2013 2(601) | 0408215-OffLrg-HVACCWSetpoint | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
116 | CBECC-Com 2013 2(601) | 0408315-OffLrg-HVACTowerEff | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
| CBECC-Com 2013 2(601) | 0400016-OffLrg-Baserun | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 |  |  |  |  | No | Yes | Fail
| CBECC-Com 2013 2(601) | 0408416-OffLrg-HVACChillerCOP | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
| CBECC-Com 2013 2(601) | 0408516-OffLrg-HVACChWdeltaT | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
| CBECC-Com 2013 2(601) | 0408616-OffLrg-HVACCWSetpoint | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
| CBECC-Com 2013 2(601) | 0408716-OffLrg-HVACTowerEff | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
| CBECC-Com 2013 2b(609) | 0400006-OffLrg-Baserun | 110.286 | 110.286 | 3.7996 | 3.7996 | 0.03907 | 0.03907 | 16.8707 | 16.8707 | 3.2116 | 3.2116 | 2.9079 | 2.9079 | 4.9633 | 4.9633 | 0 | 0 | 14.6147 | 14.6147 | 1.7947 | 1.7947 | 3.283 | 3.283 | 0.015099 | 0.015099 | 0.69518 | 0.69518 | 0 | 0 | 0 | 0 |  |  |  |  | No | Yes
| CBECC-Com 2013 2b(609) | 0408806-OffLrg-HVACChillerCOP | 115.69 | 115.69 | 4.0986 | 4.0986 | 0.039318 | 0.039318 | 17.916 | 17.916 | 3.2364 | 3.2364 | 3.5965 | 3.5965 | 4.9633 | 4.9633 | 0 | 0 | 14.6147 | 14.6147 | 1.7851 | 1.7851 | 3.2298 | 3.2298 | 0.4097 | 0.4097 | 0.69518 | 0.69518 | 0 | 0 | 0 | 0 | 4.9% | 4.9% | 6.196% | 6.196% | Yes | Yes | Pass
| CBECC-Com 2013 2b(609) | 0408906-OffLrg-HVACChWdeltaT | 117.706 | 117.706 | 4.049 | 4.049 | 0.03932 | 0.03932 | 17.7467 | 17.7467 | 3.2366 | 3.2366 | 2.691 | 2.691 | 4.9633 | 4.9633 | 0 | 0 | 14.6147 | 14.6147 | 1.7812 | 1.7812 | 3.9399 | 3.9399 | 0.43968 | 0.43968 | 0.69518 | 0.69518 | 0 | 0 | 0 | 0 | 6.728% | 6.728% | 5.193% | 5.193% | Yes | Yes | Pass
| CBECC-Com 2013 2(601) | 0409006-OffLrg-HVACCWSetpoint | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
| CBECC-Com 2013 2b(609) | 0409106-OffLrg-HVACTowerEff | 103.991 | 103.991 | 3.7261 | 3.7261 | 0.039314 | 0.039314 | 16.6444 | 16.6444 | 3.236 | 3.236 | 2.3671 | 2.3671 | 4.9633 | 4.9633 | 0 | 0 | 14.6147 | 14.6147 | 1.7837 | 1.7837 | 3.2878 | 3.2878 | 0.31143 | 0.31143 | 0.69518 | 0.69518 | 0 | 0 | 0 | 0 | -5.708% | -5.708% | -1.341% | -1.341% | No | No | Pass
4 | CBECC-Com 2013 2(601) | 1000015-RetlStrp-BaselinePSZ | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 |  |  |  |  | No | Yes
6 | CBECC-Com 2013 2(601) | 1009215-RetlStrp-HVACPSZ DXCOP | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
9 | CBECC-Com 2013 2(601) | 1009315-RetlStrp-HVACPSZ HeatEff | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
12 | CBECC-Com 2013 2(601) | 1009415-RetlStrp-HVACPSZ EconomizerControl | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
5 | CBECC-Com 2013 2(601) | 1000016-RetlStrp-BaselinePSZ | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 |  |  |  |  | No | Yes
7 | CBECC-Com 2013 2(601) | 1009516-RetlStrp-HVACPSZ DXCOP | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
10 | CBECC-Com 2013 2(601) | 1009616-RetlStrp-HVACPSZ HeatEff | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
13 | CBECC-Com 2013 2(601) | 1009716-RetlStrp-HVACPSZ EconomizerControl | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
3 | CBECC-Com 2013 2(601) | 1000006-RetlStrp-BaselinePSZ | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 |  |  |  |  | No | Yes
8 | CBECC-Com 2013 2(601) | 1009806-RetlStrp-HVACPSZ DXCOP | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
11 | CBECC-Com 2013 2(601) | 1009906-RetlStrp-HVACPSZ HeatEff | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
14 | CBECC-Com 2013 2(601) | 1010006-RetlStrp-HVACPSZ EconomizerControl | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
| CBECC-Com 2013 2(601) | 1000015-RetlStrp-BaselinePTAC | 411.653 | 411.653 | 14.3647 | 14.3647 | 0.075256 | 0.075256 | 56.5383 | 56.5383 | 1.8012 | 1.8012 | 23.9971 | 23.9971 | 9.9544 | 9.9544 | 0 | 0 | 12.4077 | 12.4077 | 13.2618 | 13.2618 | 0 | 0 | 0 | 0 | 7.5238 | 7.5238 | 0 | 0 | 0 | 0 |  |  |  |  | No | Yes
| CBECC-Com 2013 2(601) | 1010115-RetlStrp-HVACPTAC DXCOP | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
| CBECC-Com 2013 2(601) | 1000016-RetlStrp-BaselinePTAC | 337.636 | 337.636 | 13.7004 | 13.7004 | 0.10849 | 0.10849 | 57.5938 | 57.5938 | 21.9939 | 21.9939 | 4.6084 | 4.6084 | 9.9452 | 9.9452 | 0 | 0 | 12.4077 | 12.4077 | 10.2 | 10.2 | 0 | 0 | 0 | 0 | 10.8463 | 10.8463 | 0 | 0 | 0 | 0 |  |  |  |  | No | Yes
| CBECC-Com 2013 2(601) | 1010216-RetlStrp-HVACPTAC DXCOP | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
| CBECC-Com 2013 2(601) | 1000006-RetlStrp-BaselinePTAC | 255.498 | 255.498 | 9.0232 | 9.0232 | 0.090031 | 0.090031 | 39.7895 | 39.7895 | 3.2244 | 3.2244 | 7.5217 | 7.5217 | 9.8424 | 9.8424 | 0 | 0 | 12.4077 | 12.4077 | 10.2 | 10.2 | 0 | 0 | 0 | 0 | 9.001 | 9.001 | 0 | 0 | 0 | 0 |  |  |  |  | No | Yes
| CBECC-Com 2013 2(601) | 1010306-RetlStrp-HVACPTAC DXCOP | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
| CBECC-Com 2013 2b(609) | 1000015-RetlStrp-BaselinePTAC | 411.653 | 411.653 | 14.3647 | 14.3647 | 0.075256 | 0.075256 | 56.5383 | 56.5383 | 1.8012 | 1.8012 | 23.9971 | 23.9971 | 9.9544 | 9.9544 | 0 | 0 | 12.4077 | 12.4077 | 13.2618 | 13.2618 | 0 | 0 | 0 | 0 | 7.5238 | 7.5238 | 0 | 0 | 0 | 0 |  |  |  |  | No | Yes
| CBECC-Com 2013 2b(609) | 1010515-RetlStrp-FPFC | 290.281 | 290.281 | 9.957 | 9.957 | 0.11258 | 0.11258 | 45.2299 | 45.2299 | 3.732 | 3.732 | 12.1071 | 12.1071 | 9.9544 | 9.9544 | 0 | 0 | 12.4077 | 12.4077 | 9.4613 | 9.4613 | 2.1403 | 2.1403 | 0.31092 | 0.31092 | 7.5239 | 7.5239 | 0 | 0 | 0 | 0 | -29.48% | -29.48% | -20% | -20% | No | No | Pass
| CBECC-Com 2013 2b(609) | 1000016-RetlStrp-BaselinePTAC | 337.636 | 337.636 | 13.7004 | 13.7004 | 0.10849 | 0.10849 | 57.5938 | 57.5938 | 21.9939 | 21.9939 | 4.6084 | 4.6084 | 9.9452 | 9.9452 | 0 | 0 | 12.4077 | 12.4077 | 10.2 | 10.2 | 0 | 0 | 0 | 0 | 10.8463 | 10.8463 | 0 | 0 | 0 | 0 |  |  |  |  | No | Yes
| CBECC-Com 2013 2b(609) | 1010416-RetlStrp-FPFC | 227.82 | 227.82 | 5.714 | 5.714 | 0.42959 | 0.42959 | 62.4456 | 62.4456 | 32.1084 | 32.1084 | 2.2652 | 2.2652 | 9.9452 | 9.9452 | 0 | 0 | 12.4077 | 12.4077 | 6.3075 | 6.3075 | 0.90424 | 0.90424 | 0.06874 | 0.06874 | 10.8463 | 10.8463 | 0 | 0 | 0 | 0 | -32.52% | -32.52% | 8.424% | 8.424% | No | No | Pass
| CBECC-Com 2013 2b(609) | 1000006-RetlStrp-BaselinePTAC | 255.498 | 255.498 | 9.0232 | 9.0232 | 0.090031 | 0.090031 | 39.7895 | 39.7895 | 3.2244 | 3.2244 | 7.5217 | 7.5217 | 9.8424 | 9.8424 | 0 | 0 | 12.4077 | 12.4077 | 10.2 | 10.2 | 0 | 0 | 0 | 0 | 9.001 | 9.001 | 0 | 0 | 0 | 0 |  |  |  |  | No | Yes
| CBECC-Com 2013 2b(609) | 1010606-RetlStrp-FPFC | 196.019 | 196.019 | 6.2341 | 6.2341 | 0.15517 | 0.15517 | 36.7846 | 36.7846 | 6.5132 | 6.5132 | 3.9603 | 3.9603 | 9.8424 | 9.8424 | 0 | 0 | 12.4077 | 12.4077 | 6.3075 | 6.3075 | 1.1199 | 1.1199 | 0.040451 | 0.040451 | 9.001 | 9.001 | 0 | 0 | 0 | 0 | -23.28% | -23.28% | -7.552% | -7.552% | No | No | Pass
| 0 | SIMPLE GEOMETRY TEST CASES | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| CBECC-Com 2013 2(601) | 0200015-OffSml-SG-Baseline | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 |  |  |  |  | No | Yes
| CBECC-Com 2013 2(601) | 0211015-OffSml-SG-EnvRoofInsulation | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
| CBECC-Com 2013 2(601) | 0211315-OffSml-SG-EnvWallInsulation | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
| CBECC-Com 2013 2(601) | 0200016-OffSml-SG-Baseline | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 |  |  |  |  | No | Yes
| CBECC-Com 2013 2(601) | 0211116-OffSml-SG-EnvRoofInsulation | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
| CBECC-Com 2013 2(601) | 0211416-OffSml-SG-EnvWallInsulation | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
| CBECC-Com 2013 2(601) | 0200006-OffSml-SG-Baseline | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 |  |  |  |  | No | Yes
| CBECC-Com 2013 2(601) | 0211206-OffSml-SG-EnvRoofInsulation | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
| CBECC-Com 2013 2(601) | 0211506-OffSml-SG-EnvWallInsulation | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
| CBECC-Com 2013 2(601) | 0300015-OffMed-SG-Baseline | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 |  |  |  |  | No | Yes
| CBECC-Com 2013 2(601) | 0311615-OffMed-SG-WWR40 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
| CBECC-Com 2013 2(601) | 0311715-OffMed-SG-WWR20 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
| CBECC-Com 2013 2(601) | 0312215-OffMed-SG-WinUSHGC | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
| CBECC-Com 2013 2(601) | 0300016-OffMed-SG-Baseline | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 |  |  |  |  | No | Yes
| CBECC-Com 2013 2(601) | 0311816-OffMed-SG-WWR40 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
| CBECC-Com 2013 2(601) | 0311916-OffMed-SG-WWR20 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
| CBECC-Com 2013 2(601) | 0312316-OffMed-SG-WinUSHGC | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
| CBECC-Com 2013 2(601) | 0300006-OffMed-SG-Baseline | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 |  |  |  |  | No | Yes
| CBECC-Com 2013 2(601) | 0312006-OffMed-SG-WWR40 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
| CBECC-Com 2013 2(601) | 0312106-OffMed-SG-WWR20 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
| CBECC-Com 2013 2(601) | 0312406-OffMed-SG-WinUSHGC | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
| CBECC-Com 2013 2(601) | 0500015-RetlMed-SG-Baseline | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 |  |  |  |  | No | Yes
| CBECC-Com 2013 2(601) | 0511615-RetlMed-SG-SRR5 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
| CBECC-Com 2013 2(601) | 0511915-RetlMed-SG-SRR1 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
| CBECC-Com 2013 2(601) | 0512215-RetlMed-SG-SkyUSHGC | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
| CBECC-Com 2013 2(601) | 0500016-RetlMed-SG-Baseline | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 |  |  |  |  | No | Yes
| CBECC-Com 2013 2(601) | 0511716-RetlMed-SG-SRR5 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
| CBECC-Com 2013 2(601) | 0512016-RetlMed-SG-SRR1 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
| CBECC-Com 2013 2(601) | 0512316-RetlMed-SG-SkyUSHGC | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
| CBECC-Com 2013 2(601) | 0500006-RetlMed-SG-Baseline | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 |  |  |  |  | No | Yes
| CBECC-Com 2013 2(601) | 0511806-RetlMed-SG-SRR5 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
| CBECC-Com 2013 2(601) | 0512106-RetlMed-SG-SRR1 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
| CBECC-Com 2013 2(601) | 0512406-RetlMed-SG-SkyUSHGC | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A